## Slide 1
Technical Seminar
Date: 19TH October 2023
Location: Tullamore , Co. Offaly

## Slide 2
Thank you for the Opportunity to speak at today's Seminar Brigid Walsh C Eng : Project Director Colin Kiely: Electrical Lead

## Slide 3: Solar PV
Solar PV System Design
Solar PV Components
Solar PV Operation

## Slide 4: Designing Solar PV Plant
Design Decisions /Product Data Sheets/ Spec all in accordance with NSAI/RECI/ Part L /SEAI/Home Bond
KVA – Building ( single or triple phase )
Roof Type & Access
Cable Runs /Cable Type
Panel size /type and Certifications
Inverter size /type and Certifications
Battery size /type and Certifications
AC /DC isolators size /type and Certifications
Shunt /Fireman's switch size /type and Certifications
Combiner Box – Fireman's switch – Surge 1 & Lightning Protection size /type and Certifications

## Slide 5: ESB Categories Ref ; NSAI Irish Standard I.S. 10101:2020 Part 712 page 578 to 592

## Slide 6
DOMESTIC SCHEMATIC

## Slide 7: Design – inverter choice

## Slide 8: design – battery choice

## Slide 9: Solar pv design
Specifications ; Industry Standards & shared knowledge ; Feedback
PV Panel :
Cable DC/AC/Earth etc :
DC/AC Isolators :
Fireman's Switch /shunt:
In house /External training keeping up to date

## Slide 10: Testing Panel & String Testing
SEAWARD PV200 SOLAR PV TESTER & I-V Curve Tracer (389A910)

## Slide 12: Smart Technology
Add on to documents prepared during installation
Setup a central - Database for each Eircode ( Home or Business)
In House - Training to go through a solar PV installation (understanding components and their function and capabilities ) Sharing knowledge and experience gained in the field.
QR Code outside building
Placard outside Building
Indicating to Firefighters that a solar/battery/type of Inverter ( string or microinverter) has been installed and Where the systems and shutoffs are located.
Suggest Add on to SOPS already in place

## Slide 13: Solar pv products
disposing of end of life / faulty /damaged solar pv products
All products purchased by solar evolution are weee compliant
returned to suppliers for recycling in the correct manner .

## Slide 14: Thank you
Presenter names:
BRIGID walsh & COLIN Kiely
Email address: Brigid.walsh@solarevolution.ie
Website ; www.solarevolution.ie